# ANNEX IV :  Budget breakdown (Model financial offer)

- Page No  1 of 2

PUBLICATION REFERENCE:  04SER01/11/061-SpADCP/07-2

- NAME OF TENDERER: ……………………………

| A |  | B |  | C |  | D | E |  | F |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item number |  | Quan-tity |  | specifications |  | specifications offered (incl brand/model) | Unit costs with delivery ddp to Serbia, Belgrade, hidrometeorogical service, Kneza Viseslava 66 <EUROS > |  | total <EUROS > |
| 1 | 1 |  | Equipment for continuous discharge monitoring at Tisa, Novi Knezevac, by velocity profiling method, using horizontal acoustic Doppler technique. Dual power supply (solar cells as primary and 220 V network as optional). Locale storage of data in data logger and GSM modem for data transmission. |  |  |  |  |  |  |
| 2 | 1 |  | Mobile flow measuring equipment based on Acoustic Doppler Current Profiling technique for on site flow measurement and calibration of existing flow measuring devices – set for Low Water Depths (LWD-ADCP); accompanying handheld pocket PC and SW. |  |  |  |  |  |  |
| 3 | 1 |  | Mobile flow measuring equipment based on Acoustic Doppler Current Profiling technique for on site flow measurement and calibration of existing flow measuring devices – set for High Water Depths (HWD-ADCP); accompanying RTK GPS equipment and SW. |  |  |  |  |  |  |
| 4 | 2 |  | Notebook PC in hard case, for field work, for data acquisition of HWD-ADCP measurement. |  |  |  |  |  |  |
| 5 |  |  | Training for five person, three days in Belgrade and three days on field, with necessary books and other training materials. |  |  |  | [Lump sum] |  |  |
| 6 |  |  | Transportation (DDP) and Installation |  |  |  | [Lump sum] |  |  |
|  |  |  |  |  |  |  | Total |  |  |