ANNEX III   :	  TECHNICAL OFFER

Annex III - the Contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- the column “Specifications” shows the required specifications,

- the column “Specifications offered” is to be filled in by the tenderer and must detail what is offered (for example the words “compliant” or “yes” are not sufficient)

- the column “Notes, remarks, ref to documentation” allows the tenderer to make comments on his proposed supply and to make eventual references to the documentation

- the column “ Evaluation Committee’s notes” is to be left empty for the evaluators.

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

Contract title :  Supply of fixed and mobile equipment for water flow and velocity measurement

Publication reference :  04SER01/11/061-SpADCP/07-2/2

NAME OF TENDERER: ………………………………………….	                                                                                                  Page 2 /12

| Item # | Specifications | Specifications Offered (incl. brand/model) | Notes, remarks, ref. to attached documentation /brochures on equipment | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 1 | Equipment for continuous discharge monitoring at Tisa, Novi Knezevac, by velocity profiling method, using horizontal acoustic Doppler technique. Power supply from 220 V network with battery backup for minimal 2 day operation. Locale storage of all measured raw data and processed data. 2 GSM/GPRS modems for data transmission and for remote setup/reconfiguration on sensor level. Voltage or current output of level and flow rate for connection to other data loggers. The equipment consists of: - Transducer: with min 2 horizontal beams for velocity and 1 vertical beam for depth. Velocity profiling capabilities: - minimal profiling range 200 m, - number of measuring cells within one horizontal beam has to be minimum 120, - min cell size 1 m or less, - max cell size up to 8 m, - first measuring cell starts at distance of 40 m or less, - accuracy 0.5%, 0.2 cm/s or better, - measuring resolution 0.1 cm/s or higher, - velocity range minimum 5m/s. - Sensors incorporated within transducer: - Acoustic (ultrasound) stage: with range min 0.1 to 10 m, accuracy 0.25% or better, and resolution 0.01 cm or higher. - Pressure stage (with atmospheric pressure correction): range min 0.1 to 10 m, accuracy 0.5% or better and resolution 0.1 cm or higher. - Water temperature: range min -4 - 40 C, accuracy 0.2 C or better, resolution 0.01 C or higher. - Tilt (2 axes): range min 10 , accuracy min 0.2 at 0 and 0.5 at 10, resolution 0.01 or higher. - Transducer geometry: 2 horizontal beams, angle of ± 20° or less - Transducer beam width: 2,2° or less - Housing for transducer with durable construction and materials, including all mounting plates, positioning devices, connecting cables. Protection construction with option to correct pitch and roll. - Communication (transducer to logger): RS-232 or RS-422, serial baud rates 300-115200 bps. Length between transducer and logger is 20 m. Built in lightning protection. - Data logger for storage of all measured raw data and calculated quantities. Minimal local data storage capacity for one week with 15 minute sampling interval. Support for GSM/GPRS communication unit. Possibility to remotely reconfigure system on the sensor level (via modem). Cable for direct connection of logger to PC via USB or RS232 connection, with possibility to reconfigure system (logger and transducer). Logger has to monitor the state of the power supply. Analogue outputs (voltage or current) for water level, flow rate and battery voltage, for connection with second (existing) data logger. Length of cables to second logger is 5 m. - GSM/GPRS modem (2 pieces) compatible with data logger, with antenna (with 3 m cable). Accompanying software that allows data download over GPRS and over GSM, and with remote reconfiguration possibility. - Power supply from intermittent 220 V line (supply is available only during nights – for at least 6 hours per day) and with battery backup (UPS) for 48 hours of operation. Built in lightning protection. - Lightning protection power line (item 1.7) and for connection to transducer (item 1.4). - Weatherproof protection housing IP54 with mounting plate and door with lock including wiring of the components and connecting plan including assembly parts. - Software for online velocity and stage monitoring, discharge calculation and communication, displaying data in tabular and graphic format, e. g. velocity distribution and echo intensity. - Software for instrument programming and calibration. - Operating manual and technical guide for transducer, logger, modem and delivered software. |  |  |  |
| 2 | Mobile flow measuring equipment based on Acoustic Doppler Current Profiling technique for on site flow measurement and calibration of existing flow measuring devices – set for Low Water Depths (LWD-ADCP); accompanying ruggedized handheld pocket PC with GPS support and software for hydrological applications. The equipment consists of: - Transducer: with min 4 down-looking beams for velocity, position and water depth measurement. Hard and durable casing. Battery powered. All necessary cables. Velocity profiling capabilities of transducer as follows: - maximal profiling range (depth) 2 m or more, - number of measuring cells adjustable, within one beam has to be from 1 up to minimum 20, - first cell starts from 5 cm or less, - cell size adjustable, with minimal cell size 1 cm or less and max. cell size up to 10 cm, - velocity accuracy 1.0% 2 mm/s or better, - measuring resolution 0.1 cm/s or higher, - velocity range minimum 2m/s, - ping rate selectable, from 1Hz or lower up to 40 Hz or higher. - Sensors incorporated within transducer: - Acoustic (ultrasound) depth measurement and continuous bottom tracking (position of boat). Minimal depth 0.1 m or less. - Water temperature: range min -4 - 40 C, accuracy 0.5 C or better, resolution 0.01 C or higher. - Communication: Bluetooth wireless, with baud rates: 300-115,200 bps - Mobile handheld ruggedized PC with GPS support and with software for hydrological applications, data acquisition from LWD-ADCP and playback, for discharge calculation, communication and instrument setup. Additional memory card for storage of 7 days measurement campaign. Software has to be compatible with all operating modes of transducer (slow and fast ping rates). Data formats compatible with HWD-ADCP software system (offered item No 3). Software for GPS with possibility to include scanned maps and to store current coordinates. - 2 packs of accu-batteries for ADCP. Charger for accu-batteries. Additional high capacity accu for Mobile handheld PC. - Small, low weight and low drag, stable (preferable trimaran) boat for transducer. Boat should have waterproof compartments for electronic and batteries, with mounting plates for instruments. Maximal dimensions of boat: length 80 cm, width 50 cm, weight with all equipment 6 kg. With a rigid birdle and all necessary hardware and hard case for transport. - Operating manual and technical guide for transducer, handheld PC and delivered software. |  |  |  |
| 3 | Mobile flow measuring equipment based on Acoustic Doppler Current Profiling technique for on site flow measurement and calibration of existing flow measuring devices – set for High Water Depths (HWD-ADCP), continuous data transmission to notebook PC using pair of radio modems, software for notebook PC, and with accompanying ruggedized handheld pocket PC with GPS support and software for hydrological applications. The equipment consists of: - Transducer: with min 4 down-looking beams for velocity, water depth measurement and position using bottom tracking. Hard and durable casing. All necessary cables. Transducer ready for connection with DGPS (DifferentialGPS) receivers or RTK (Rover-Base) GPS systems, with necessary cables and software support. Velocity profiling capabilities of transducer as follows: - minimal profiling range (depth) 0.3 m or less, - maximal profiling range (depth) 20 m or more, - number of measuring cells adjustable, within one beam has to be from 1 up to minimum 120, - cell size adjustable, with minimal cell size 0.05 m or less and max. cell size up to 2 m, - standard deviation of velocity measurement within one cell of 0.05 m size should be 1 cm/s or better, within 0.25 m cell size should be 15 cm/s or better, and within 2 m cell size 2.0 cm/s or better, - velocity accuracy 0.25% or better, of the velocity water plus velocity of boat, - measuring resolution 0.1 cm/s or higher, - velocity range minimum 5m/s, - ping rate selectable, from 1Hz or lower up to 40 Hz or higher. - Sensors incorporated within transducer: - Acoustic (ultrasound) depth measurement and continuous bottom tracking (position of boat). Minimal depth 0.3 m or less and maximal depth 30 m or more. Depth accuracy 0.25% or better, and resolution 0.01 cm or higher. - Water temperature: range min -4 - 40 C, accuracy 0.5 C or better, resolution 0.01 C or higher. - Tilt (2 axes): range 15 or higher, accuracy 0.5 or better, resolution 0.01 or higher - Compass (with build in field calibration feature): range 15 or higher, accuracy 2 or better, precision 0.5 or better, resolution 0.01 or higher. - Transducer communication cappabilities: RS-232 or RS-422, serial baud rates 1200-115200 bps. Cables for connection of transducer to notebook PC and to radio modem. - Pair of long range, multi channel (2 channels) RF transceivers including modems, with RS232 I/O, compatible with ADCP and RTK or D GPS. Operating frequency range 2400 to 2483 MHz, with FHSS method or equivalent (24 bit CRS and ARQ or equivalent). Operating range minimal 8 km within line of sight. With built in error detection. I/O data rate minimum channel 1: 38.4 Kbps or higher, and channel 2: 19.2 Kbps or higher. Supply voltage 10-15 V DC. Operating temperature min -40 to 70 C. With IP68 casing, omni-directional integral antenna with gain of minimal 3 db, cable for connection with ADCP. - 2 packs of accu-batteries for ADCP and for both RF transceivers, with capacity for minimal 2 days of continuous operation. Fast charger for accu-batteries. Additional high capacity accu for Mobile handheld PC. - Software for notebook PC: Windows based or equivalent data acquisition and playback software for discharge calculation, communication and instrument setup. Software has to be compatible with all operating modes of transducer (slow and fast ping rates) and be able to use and store both GPS and bottom tracking systems as a source of boat positioning data. Software has to allow either direct connection of notebook PC to ADCP or through radio modem (item 3.4). - Mobile handheld ruggedized PC with GPS support and with software for hydrological applications. Interface for connection of current meters and software for current meter reading and data evaluation. Software for GPS with possibility to include scanned maps and to store current coordinates. Blutooth connection of handheld ruggedized PC to send GPS coordinates to notebook PC. - Small, low drag, stable (preferable trimaran) boat for transducer, RF transceiver and future GPS instrument. Boat should be non-magnetic, with waterproof compartments for electronic and batteries, with mounting plates for all instruments. Maximal dimensions of boat: length 130 cm, width 90 cm, weight 8 kg. With towing hardware and hard case for transport. - Operating manual and technical guide for transducer, radio modems, handheld PC and delivered software. |  |  |  |
| 4 | Two notebooks (PC) in hard case for field work, for data acquisition of HWD-ADCP measurement, with accompanying spare parts. The equipment consists of: - Notebook PC with the following minimum requirements: - Dust and moisture proof hard case (preferably magnesium alloy), - QWERTY standard keyboard and touchpad, - Vibration and drop shock resistant - Built in serial RS232 port and USB ports, - Low power consumption, high performance mobile processor at min. speed 1,6 GHz, min. 2MB L2 cache, - Operating system compatible with Windows XP Professional, - Memory min. 1 GB SDRAM, storage min 80 GB hard drive, CDRW/DVD, - Battery operation min. 3 hours. - Additional high capacity battery (accu), - AC adapter and DC adapter for charging from 12V DC supply - USB to RS232 adapter (with full RTS/CTS protocol – to connect additional RS232 device to USB port on computer) |  |  |  |
| 5 | Software for linkage of flow measured data from Novi Knezevac with existing information system based on MySQL, with communication, data evaluation, processing and management possibilities. Software for remote data inspection with graphical presentation of measured data (mean velocity of cross-section (vm), total discharges (Q) and water level (H)). |  |  |  |
| 6 | ADDITIONAL REQUESTS: - Full training for mobile equipment and fixed equipment with duration of 5 days, including all travel and accommodation costs. Scope of the training: - Theoretical basis of the ADCP technique - Software handling - Operating tests - Measurement errors also with bed-load discharge - Measurement in the field Theoretical part to be held in Belgrade and should be backed up with written material and necessary books. Practical part should be with field work on Tisa and/or Danube River. Five-day training for five persons in Belgrade and on field, with training manuals and books in English language. - Installation for fixed flow measuring equipment (item no 1) on existing steel pipes of 300/200 mm diameter, or on vertical concrete bridge pier. Details could be sent upon the request. - Transport and delivery (DDP, franco Serbia, Belgrade, Kneza Viseslava 66) |  |  |  |