Public document to be completed by the Contracting Authority

(C02)

SUPPLY PROCUREMENT NOTICE

Supply of fixed and mobile equipment for water flow and velocity measurement

- 1. Publication reference

04SER01/11/061-SpADCP/07-2/2

- 2. Procedure

Local open

- 3. Programme

Neighbourhood Programe Hungary – Serbia

- 4. Financing

Grant contract 04SER01/11/061

5. Contracting authority

REPUBLIC HYDROMETEOROGICAL SERVICE – SERBIA, Kneza Viseslava Street 66, 
11000 Belgrade

CONTRACT SPECIFICATIONS

- 6. Description of the contract

Purchase of fixed and mobile equipment for water flow and velocity measurement on the Tisa and Danube river. It is planned to equip one measuring site (Novi Knezevac) with fixed continuous discharge monitoring unit with velocity profiling system based on horizontal acoustic Doppler technique, ADCP. Fixed ADCP will be mounted within existing rectangular bridge opening. Width of river is at maximum 150m. Power supply will be from 220V network with battery backup. The unit has to be equipped with data logger, GPRS modem for ADCP control and GSM modem for data transfer.

Also, it is planned to purchase one set of mobile equipment for on site flow measurement and calibration of existing flow measuring devices with velocity profiling acoustic Doppler technique ADCP and accompanying small trimaran (or similar stable boat). The set consists of one Low Water Depths device (LWD-ADCP) controlled by mobile handheld PC through Bluetooth communication and one for High Water Depths (HWD-ADCP) controlled by portable PC through pair of radio modems. Two portable PCs in hard case for field work are planned.

Also, it is planned to purchase necessary software to connect flow measured data from Novi Knezevac with existing information system, together with remote system control and graphical data inspection.

- 7. Number and titles of lots

One

TERMS OF PARTICIPATION

- 8. Eligibility and rules of origin

Participation is open to all legal persons [participating either individually or in a grouping (consortium) of tenderers] of the Member States and the countries and territories of the regions covered and/or authorised by the Regulations on access to Community external assistance and other specific instruments applicable to the programme under which the contract is financed (see also item 22 below). All goods supplied under this contract must originate in one or more of these countries. Participation of natural persons is directly governed by the specific instruments applicable to the programme under which the contract is financed.

- 9. Grounds for exclusion

Tenderers must submit a signed declaration, included in the Tender Form for a Supply Contract, to the effect that they are not in any of the situations listed in point 2.3.3 of the Practical Guide to contracts procedures for EC external actions.

- 10. Number of tenders

Tenderers MAY NOT submit a tender for a variant solution in addition to their tender for the supplies required in the tender dossier.

- 11. Tender guarantee

- Not required.

- 12. Performance guarantee

The successful tenderer will be asked to provide a performance guarantee of 10% of the amount of the contract at the signing of the contract. This guarantee must be provided together with the return of the countersigned contract no later than 30 days after the tenderer receives the contract signed by the Contracting Authority. If the selected tenderer fails to provide such a guarantee within this period, the contract will be void and a new contract may be drawn up and sent to the tenderer which has submitted the next best compliant tender.

- 13. Information meeting and/or site visit

No information meeting is planned.

- 14. Tender validity

Tenders must remain valid for a period of 90 days after the deadline for submission of tenders.

- 15. Period of implementation

60 days after signing contract.

SELECTION AND AWARD CRITERIA

- 16. Selection criteria

The following selection criteria will be applied to tenderers.  In the case of tenders submitted by a consortium, these selection criteria will be applied to the consortium as a whole:

- Economic and financial capacity of tenderer (based on i.a. item 3 of the Tender Form for a Supply Contract)

- the average annual turnover excluding this contract (average of the year before last, last year, this year and next year) of the tenderer must exceed the financial proposal of the tender

- Technical capacity of tenderer (based on i.a. items 5 and 6 of the Tender Form for a Supply Contract)

The tenderer is required to demonstrate that (ie, the consortium as a whole, in the case of a tender from a consortium):

- the tenderer has successfully completed at least 2contracts, each having the budget of at least 50,000.00 Euros, in the past three years

- the tenderer has worked successfully on at least 2 projects in fields related to this contract in the past three years

An economic operator may, where appropriate and for a particular contract, rely on the capacities of other entities, regardless of the legal nature of the links which it has with them. It must in that case prove to the Contracting Authority that it will have at its disposal the resources necessary for performance of the contract, for example by producing an undertaking on the part of those entities to place those resources at its disposal. Under the same conditions, a consortium of economic operators may rely on the capacities of members of the consortium or of other entities.

- 17. Award criteria

Price

TENDERING

- 18. How to obtain the tender dossier

The tender dossier is available from the following Internet address: www.hidmet.sr.gov.yu/ciril/projekti/index1.php and nabavka@hidmet.sr.gov.yu . The tender dossier is also available from the REPUBLIC HYDROMETEOROLOGICAL SERVICE, Kneza Viseslava Street 66, 11000 Belgrade, Serbia. Tenders must be submitted using the standard Tender Form for a Supply Contract included in the tender dossier, whose format and instructions must be strictly observed.

Tenderers with questions regarding this tender should send them in writing to sstevanovic@hidmet.sr.gov.yu  (mentioning the publication reference shown in item 1) at least 21 days before the deadline for submission of tenders given in item 19. The Contracting Authority must reply to all tenderers' questions at least 11 days before the deadline for submission of tenders. Eventual clarifications to the tender dossier will be published on www.hidmet.sr.gov.yu/ciril/projekti/index1.php

- 19. Deadline for submission of tenders

10:00 hours Central European Time on 09th January 2008.

Any tender received after this deadline will not be considered.

- 20. Tender opening session

09th January 2008 at 10.15 at  the REPUBLIC HYDROMETEOROGICAL SERVICE – SERBIA,  
Kneza Viseslava 66, 11000 Belgrade

- 21.  Language of the procedure

All written communications for this tender procedure and contract must be in English.

- 22. Legal basis

Neighbourhood Programme HU-RO-SCG-1/05